|  |
| --- |
| Risk Assessment / Method Statement |

|  |  |  |  |
| --- | --- | --- | --- |
| **Job LOG:** | 2973 | | |
| **Client:** | Europa | | |
| **Site address:** | Alexandra Palace | | |
| **Location of Works:** | Temporary Marquee bulding | | |
| **Description of works:** | Replacement of existing double set of aluminium external doors | | |
| **Sequence of works:** | Carefully remove existing double set of aluminium doors and dispose off site into local skip, Supply and fit new Aluminium doors, Make weathertight, Make good reveals (if affected) and plaster/decorate on completion. |  |  |
| **Assessment date:** | 30.09.13 | **Review Date:** | 01.10.14 |
| **Produced by:** | Joe Taylor | | |
| **Operatives involved:** | Paul Dowdall, Paul Evans | | |
| **Supervisor on site:** | Lee Muscat | | |

|  |
| --- |
| RISK ASSESSMENT & METHOD STATEMENT - METHOD STATEMENT DETAILING RISK CONTROL MEASURES  The risk (s) will be reduced by the implementation of the safe controls including a safe sequence of works. This Method Statement and the application of the associated risk control measure (s), will be strictly adhered to and it’s application ensured by the Sterling Services onsite supervisor. Full details are as follows: |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Hazards Identified** | **Persons at Risk** | **Current Risk Rating** | **Control Measures to be applied to minimise risk** | **Residual Risk** |
| Interaction with Alexandra Palace site employees, visitors, guests, other contractors. | Engineer, Employees, Visitors | High | * All operatives shall be inducted to site by site management outlining site rules and requirements and mandatory levels of PPE required on site. * All Sterling Services operatives shall sign site register on arrival at reception and sign out when leaving. * Suitable control measures shall be implemented when working in populated areas to ensure that works are sufficiently segregated at all times and that work does not impact on the health and safety of Alexandra Palace employees. * Safe routes, access and egress have been communicated. | Low |
| Manual Handling, musculoskeletal disorders, sprains etc when moving doors and frames | Operative | Medium | * SS operatives shall be trained in manual handling operations and lifting principles. * Manual Handling will be avoided where so far as reasonably practical mechanical lifting devices can be used. * Engineer shall only lift weight that they are comfortable with. * If works being carried out require repetitive or unusual manual handling then a specific manual handling assessment shall be done. | Low |
| Hand held tools, worn, damaged, unsuitable  Portable Power Tools  Extension leads | Operative | Medium | * All hand tools shall be fit for purpose, visually inspected before use for damage or wear and tear. * All portable power tools/extension leads shall be 110v only, be fit for purpose and visually inspected before use. * All portable power tools shall be PAT tested. * Only competent Engineer shall use portable power tools. | Low |
| Portable Power Tools  Extension leads | Operative | Medium | * All portable power tools/extension leads shall be 110v only, be fit for purpose and visually inspected before use or wear and tear, missing components, damage, alterations etc. * If equipment is found to be defective, faulty or damaged it shall be removed from use immediately. * All portable power tools shall be PAT tested. * Only competent operatives shall use portable power tools. | Low |
| Slips, Trips and Falls | Operative | Medium | * Operatives shall carry out a visual observation of the work area to familiarise themselves with the environment. * Work area shall be kept clean and tidy with materials and debris not allowed to accumulate. | Low |
| Vibration | Operatives | Medium | * Operatives are not exposed to extreme levels of vibration during the course of the work being undertaken. * They shall wear adequate personal protective equipment including gloves and hearing protection when operating jack hammer. * Work is of short duration only to loosen and remove existing damaged concrete. | Low |
| Asbestos | Operatives | High | * Asbestos register shall be requested when undertaking work in locations that contain Asbestos Containing Materials. * If the presence of Asbestos is suspected then SS operatives shall cease work immediately and contact site manager, work area shall be secured to prevent others from entering the area. * SS shall only return to work area once confirmation is given that the area is safe to be re-occupied. | Low |
| Amendment if Required |  |  |  |  |

|  |
| --- |
| Method Statement – Sequence of Events |

|  |
| --- |
| All SS site operatives have been inducted to site and have followed the recognized signing in procedure to gain access to site.  The Work area shall be identified and demarcated using signage, barriers and or tape.  Internal doors shall be removed using hand tools with new doors being fitted and fixed into position again using hand tools.  Door furniture shall be fixed.  Work area and any debris or material shall be removed and taken back to SS yard. |

|  |
| --- |
| Personal Protective Equipment - PPE |

|  |  |  |
| --- | --- | --- |
| High Visibility Clothing | Mandatory | Must be worn at all times. This must be the outermost garment of clothing worn so you are highly visible at all times |
| Safety Boots | Mandatory | Must be worn at all times |
| Safety Glasses | To be close at hand | To be worn with there is risk of flying debris or possible contamination to the eyes |
| Ear protection | To be close at hand | To be worn where levels of volume exceed 83db (A) – i.e. Ambient peak or persistent noise makes normal speech hard to be heard |
| Hard Hat | To be close at hand | To be worn where there is danger of falling objects |
| Suitable Gloves | To be close at hand | To be worn where there is chemical, substance or and other identified hazard |
| Respiratory protection | To be close at hand | To be worn to control occupational diseases caused by breathing air contaminated with harmful dusts, fogs, fumes, mists, gases, smokes, sprays or vapors. |

|  |
| --- |
| Emergency Procedures |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| All Sterling Services Operatives will be made aware of fire evacuation procedures, first aid procedures and location of fire fighting equipment and first aid kits **BEFORE** starting works. This information will be provided by the Sterling Services Site Supervisor. | | | | | |
| Sterling Services Appointed First Aider: | Paul Dowdall | Nearest First Aid Kit: | Rear of company vehicle | Nearest Hospital: | The Whittingham Hospital, Magdala Avenue, London, N19 5NF (3 miles from site) |

|  |
| --- |
| Site Monitoring / Inspection and Supervision |

|  |
| --- |
| * All Sterling Services Operatives will have at least one operative permanently on site who is trained to SSSTS standard and who’s relevant experience for the tasks will see that individual nominated on this Risk Assessment and Method Statement. * Each ‘onsite supervisor’ will have access to the Sterling Services’ health & safety consultants if additional guidance / requirements are needed. * Sterling Services Supervisors will make amendments to these RA/MS to take in account any changes to circumstances. * Sterling Services Operatives are fully aware that their sites will be routinely and randomly inspected by senior management with a view to ensure that their training, and working strictly to this Risk Assessment and Method Statement, is adhered to. Failure to do so may result in disciplinary action. |

|  |
| --- |
| Environmental Controls |

|  |
| --- |
| Every effort will be made to keep to a minimum the levels of noise, and dust made from Operations. Waste levels will be kept to a minimum to ensure they do not cause hazards or become a nuisance to others. Sterling Services Personnel will Tidy up, clear site, remove and transport equipment and surplus materials from site. Working areas will be tidied regularly and waste removed. |

|  |
| --- |
| Storage on Site |

|  |
| --- |
| Nothing to be stored on this site and all waste disposed off site via a licensed waste carrier |

|  |
| --- |
| Specific Legislation |

|  |
| --- |
| * The Work at Height Regulations 2004 (WAHR) * The Management of Health & Safety at Work. Regulations 1999, Reg ‘3’ Risk Assessments. * Manual Handling Operations Regulations 1992. * Provision and Use of Work Equipment Regulations 1998 * Control of Substance Hazardous to Health 2002 |

|  |
| --- |
| HSE and Other Guidance |

|  |
| --- |
| * Memorandum of guidance on the Electricity at Work Regulations 1989 * Electricity at Work: Safe Working Practices. HSG 85 2003. |

|  |
| --- |
| Statement of Contractors Responsibility |

|  |
| --- |
| This method statement is provided to cover only the works indicated and can only be considered as validated when all personnel involved in the working activity have received a tool box talk with a signature obtained. The contractor shall be responsible and shall ensure that adequate supervision is applied to the work detailed within this method statement and shall ensure full and effective compliance. If there is any change in scope of the works or of any other impinging activity that may create risk work will cease and appropriate amendments will be made of this method statement. This statement confirms responsibility and commitment to this method statement and signature of validation below confirms this. |

|  |  |
| --- | --- |
| **Name:** | Paul Blennerhassett |
| **Position in Company:** | Managing Director |
| **Date:** | 30th September 2013 |

|  |
| --- |
| Signature and Data confirming distribution |

|  |  |  |
| --- | --- | --- |
| Site Operative Name | Site Operative Signature | Date |
| PD |  |  |
| PE |  |  |
|  |  |  |
|  |  |  |
|  |  |  |